## Slide 1
領先創新·
·超越自我
2019 Synopsys ARC盃電子設計競賽

## Slide 2: SMART FIREFIGHTER
UETer
UET - VNU

## Slide 3: Agenda
Project Overview
System Architecture
Summary & outlook

## Slide 4: Project Overview
Smart firefighter
Quick and accurate detection of flame location.
Detect small size of flame (a candle at 3m).
Spray water flow to the fire correctly, while keeping other areas dry spear.
Can be mobility.
Smoke sensor:
Slow detection
no location of flame
Wide water spray nozzle:
Waste water
Causing damage to other furniture
Classic firefighter

## Slide 5: System Architecture
2x thermal sensor 32x24 pixel
FOV: 55°x35°
Water pump
2 axis robot arm
2 stepper motor
H bridge
I2C
I2C
Flame directions
Flame directions
Calculate flame locations
Spray water
Move spray nozzle

## Slide 6: Flame directions - Example
4 |  |  |  |  |  |  |  | 
3 |  |  |  |  |  |  |  | 
2 |  |  |  |  |  |  |  | 
1 |  |  |  |  |  |  |  | 
-1 |  |  |  |  |  |  |  | 
-2 |  |  |  |  |  |  |  | 
-3 |  |  |  |  |  |  |  | 
-4 |  |  |  |  |  |  |  | 
 | -4 | -3 | -2 | -1 | 1 | 2 | 3 | 4
Hottest pixel: xh = 2, yh = 1
- x angle:  = (55/32)*xh
Y angle:  = (35/24)*yh
2 sensor: 1, 2, 1, 2

## Slide 7: Flame directions
A = distance between 2 sensors
Fx = distance from flame to sensor wall
Fy = distance from flame to ceiling
=> x,y => Fx
1
2
x
y
Fx
yv
xv
Sensor 1
Sensor 2

## Slide 8: Flame location
Fy = distance from flame to ceiling
Fy = xv . tan(1) = yv . tan(2)
(Fx, Fy, ) = flame location
xv
Fy
1
Sensor 1
Flame

## Slide 9: Sensor setup
45°
35°
3m

## Slide 10: Sensor setup
5m * 5m
60°
5m
Sensor covers an area 5m*5m, 3m height

## Slide 11: Outlook
Mesh Network with Multi Node
Multi sensor node.
Multi water spray
=> Extend protection area.